## SUMMARY OF PLUMBING WORKS
Bill of Quantities
EXTERNAL DEVELOPMENT OF USMS BHITSHAH
BILL OF QUANTITIES (EXTERNAL PLUMBING, DRAINAGE)
MAIN SUMMARY
Sr. No. | Description | Amount (Rs.)
A | Plmbing Works (External Drainage)
Total Amount Schedule Items
C | Cartage and Difference of Materials
| Total Cartage & Difference of Material Amount | 1878592
D | Non-Schedule Plumbing Works
Total Amount Non-Schedule Items
Total Amount

## External Plumbing Works
Bill of Quantities
Client: | ESTABLISTEMENT OF SUFISM & MODERN SCIENCES UNVIERSITY BHITSHAH | Job No. |  | Revision Date:
Project: | EXTERNAL PLUMBING, DRAINAGE WORKS | Prepd. By
Consult: | Naqvi & Siddiquie, Islamabad | Chkd. By |  | Date:
PLUMBING WORKS (EXTERNAL DRAINAGE)
Sr. | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
1 | Constructing manhole or inspection chamber for the required diameter of circular sewer and 3'-6" (1067mm) depth with walls of B.B in cement sand mortar 1:3 cement plastered 1:3, 1/2" thick, inside of walls and 1" (25 mm) thick over benching and channel i/c fixing C.I manhole cover with frame of clear opening 1-1/2' x1-1/2' (457x457 mm) of 1.75 cwt. (88.9 kg) embaded in plain C.C 1:2:4 and fixing 1" (25 mm) dia M.S steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall at 12" (305 mm) C/C duly painted etc. Complete as per standard specification and drawing.
a) | 4" to 12" dia 2'x2'x3'-6" | Each | 3 | 14748 | 44244
PUBLIC HEALTH ENGINEERING WORKS FINISHED ITEMS Chapter-II, item-P - 1, Page-46
2 | Constructing manhole for the required dia of circular sewer and 7'-9" depth with walls of B.B in cement mortor 1:3 cement plastered 1:3, 1/2" thick, inside of walls and 1" (25 mm) thick over benching and channel i/c fixing C.I manhole cover with frame of clear opening 2' x 2' (610x610 mm) of 4.5 cwt. embaded in plain C.C 1:2:4 and two way rainforced 6" thickness i/c fixing 1" (25 mm) dia M.S steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall at 12" (305 mm) C/C duly painted etc, complete as per standard specification and drawing.
a. | 4" to 9" dia 4'x3'x7'-9" | Each | 6 | 42745 | 256470
b. | 12" dia 4'-6" x 3'x7'-9" | Each | 7 | 45049 | 315343
PUBLIC HEALTH ENGINEERING WORKS FINISHED ITEMS Chapter-II, item- P- 2 (a) & (b), Page-47
3 | Constructing manhole or inspection chamber for the required dia of circular sewer and 12' depth with walls of B.B in cement mortor 1:3 cement plastered 1:3, 1/2" thick, inside of walls and 1" (25 mm) thick over benching and channel i/c fixing C.I manhole cover with frame of clear opening 2' x 2' (457x457 mm) of 4.5 cwt. embaded in 9" thick R.C.C 1:2:4 two way reinforced i/c fixing 1" (25 mm) dia M.S steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall at 12" (305 mm) C/C duly painted etc, complete as per standard specification and drawing
i | 4" to 12" dia 4'-6"x3'x12' | Each | 4 | 55411 | 221644
ii | 15" dia 4'-6" x 3'x6'x12' | Each | 2 | 59370 | 118740
PUBLIC HEALTH ENGINEERING WORKS FINISHED ITEMS Chapter-II, item-P-3, Page-48
4 | Dry rammed brick or stone ballast 1-1/2" to 2" gauge. | %Cft | 4547.5 | 3327.5 | 151318.0625
Chapter-4 (Concrete), item-2 Page- 15
5 | Excavation for pipe line in trenches, and pits in soft soils i/c trimming and dressing sides to true alignment and shape levelling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge . Providing fence guards, lights, flags and temporary crossings for non-vehicular traffic where ever required lift upto 5 ft. (1.52m) and lead upto one chain (30.5m). | %0Cft | 18190 | 3900 | 70941
PUBLIC HEALTH ENGINEERING WORKS FINISHED ITEMS Chapter-II, item-A-(3), Page-61
6 | Providing, Laying RCC pipes of A.S.T.M C-76-62 T/C-76-70 of Class II wall B and fixing in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure. |  |  |  |  | 55622.19
i | 200 mm (8" dia) | Rft | 963 | 229 | 220527
ii | 300 mm (12" dia) | Rft | 726 | 412 | 299112
iii | 375 mm (15" dia) | Rft | 130 | 515 | 66950
Chapter-II, item-B-1 (a,b,c), Page-17
7 | Providing, Laying uPVC pipes of Class 'D' fixing in trench i/c cutting, fitting and jointing with solvent cement i/c tsting with water to a head of 122 meter or 400 ft.
K) | 150 mm (6" dia) | Rft | 60 | 483 | 28980
PUBLIC HEALTH ENGINEERING WORKS FINISHED ITEMS Chapter-II, item-E-6(h), Page-25
| TOTAL |  |  |  | 1794269.0625
ADD PERMIUM/REBATE ______________________
TOTAL

## Non Schedule plumbing works
Bill of Quantities
Client: | ESTABLISTEMENT OF SUFISM & MODERN SCIENCES UNVIERSITY BHITSHAH | Job No. |  | Revision Date:
Project: | EXTERNAL PLUMBING, DRAINAGE WORKS | Prepd. By
Consult: | Naqvi & Siddiquie, Islamabad | Chkd. By |  | Date: | 2023-01-19
NON-SCHEDULE ITEMS PLUMBING WORKS
Sr. | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
1 | Supply and installation of submersible sludge pump having one cusec flow at 30 feet head including the cost of control panel, wires, valves, guiding rails and chain arrangement, piping and accessories etc. complete in all respects. | Nos. | 2
SEWAGE TREATMENT PLANT
2 | Providing and laying RCC underground water tank (equalization tank) of specified size for sewage collection, including MI steps, steel reinforcement, 24" dia CI manhole cover, inlet and outlet connections, Sika or equivalent water proof coating to all inside surfaces of concrete, excavation and backfilling complete in all respects as per drawing and specifications. | gallons | 5000
3 | Providing and laying RCC underground water tank (sludge tank) of specified size, including MI steps, steel reinforcement, 24" dia CI manhole cover, inlet and outlet connections, Sika or equivalent water proof coating to all inside surfaces of concrete, excavation and backfilling complete in all respects as per drawing and specifications | gallons | 5000
4 | Providing and laying RCC underground water tank (Treated water tank) of specified size, including MI steps, steel reinforcement, 24" dia CI manhole cover, inlet and outlet connections, Sika or equivalent water proof coating to all inside surfaces of concrete, excavation and backfilling complete in all respects as per drawing and specifications. | gallons | 15000
| Total Non Schedule Items |  |  |  | 0